## Sheet1
BOYD STREET PARKING LOT
ADDENDUM #1 - PROPOSAL FORM
SEPTEMBER 2021
PAY ITEM # |  | ITEM DESCRIPTION |  |  |  | UNIT |  | QUANTITY |  | UNIT PRICE | TOTAL PRICE
1 |  | MOBILIZATION |  |  |  | LS |  | 1
2 |  | MAINTENANCE OF TRAFFIC |  |  |  | LS |  | 1
3 |  | SILT FENCE/TREE BARRIER |  |  |  | LF |  | 1176
4 |  | INLET PROTECTION SYSTEM |  |  |  | EA |  | 1
5 |  | CLEARING & GRUBBING |  |  |  | AC |  | 1.39
6 |  | TREE REMOVAL |  |  |  | EA |  | 9
7 |  | EXCAVATE/REMOVE/DISPOSE SOIL |  |  |  | CY |  | 2240
8 |  | SELECT IMPORT BACKFILL MATERIAL (INCLUDING 18" LAYER UNDER SUBBASE) |  |  |  | CY |  | 5600
9 |  | GRADING |  |  |  | SY |  | 6700
10 |  | 12" SUBGRADE (STABILIZATION - TYPE B) |  |  |  | SY |  | 4877
11 |  | CRUSHED CONCRETE BASE - 6" – PROVIDED BY THE CITY. (INCLUDING TRANSPORT FROM CITY STOCKPILE) |  |  |  | SY |  | 4877
12 |  | 1.5" ASPH CONC FC,TRAFFIC C,FC-9.5,PG 76-22 |  |  |  | SY |  | 4877
13 |  | DITCH BOTTOM INLET, TYPE C |  |  |  | EA |  | 3
14 |  | CONNECT TO EXISTING INLET |  |  |  | EA |  | 1
15 |  | PIPE CULVERTCP, RCP ROUND, 15"S/CD |  |  |  | LF |  | 68
16 |  | PIPE CULVERT,RC RCP, ROUND, 18"S/CD |  |  |  | LF |  | 200
17 |  | TYPE D CONCRETE CURB |  |  |  | LF |  | 1895
18 |  | VALLEY GUTTER- CONCRETE |  |  |  | LF |  | 88
Sec. 00310, page 2 of 13
19 |  | CONCRETE SIDEWALK (4” th.) AND DRIVEWAYS, 6" THICK |  |  |  | SY |  | 512
20 |  | CONCRETE BUMPER GUARDS |  |  |  | EA |  | 21
21 |  | BRICK PAVEMENT, INCLUDING TRASPORT FROM CITY STOCKPILE & INSTALLATION PER CITY STND. |  |  |  | SY |  | 291
22 |  | DETECTABLE WARNINGS |  |  |  | EA |  | 4
23 |  | SINGLE POST SIGN, F&I GROUND MOUNT, UP TO 12 SF |  |  |  | AS |  | 2
24 |  | THERMOPLASTIC, STANDARD, WHITE, SOLID, 24" FOR STOP LINE |  |  |  | LF |  | 70
25 |  | THERMOPLASTIC, STANDARD, WHITE, ADA SYMBOL |  |  |  | EA |  | 4
26 |  | THERMOPLASTIC, STANDARD, WHITE, ARROW |  |  |  | EA |  | 16
27 |  | THERMOPLASTIC, STANDARD, BLUE, SOLID,6" |  |  |  | LF |  | 52.8
28 |  | THERMOPLASTIC, STANDARD-OPEN GRADED ASPHALT SURFACES WHITE, SOLID, 6" |  |  |  | GM |  | 0.41
14' X 18.5' COVERED BIKE PARKING & REST STOP - BY OTHERS, NOT IN CONTRACT
[6 empty] | SUB-TOTAL PARKING COST = |  |  |  |  | $ -
LIGHTING 29 |  | UTILITY CONDUIT, F&I, ELECTRICAL/LIGHT, 2" |  |  |  | LF |  | 1178
30 |  | LIGHT POLE FOUNDATION, F&I |  |  |  | EA |  | 15
31 |  | FLUSH MOUNTED PULL BOX, F&I |  |  |  | EA |  | 17
[6 empty] | SUB-TOTAL LIGHTING COST = |  |  |  |  | $ -
TREES | BOTANICAL/COMMON |  | SIZE | SPECS | UNIT |  | QUANTITY |  | UNIT PRICE |  |  | TOTAL PRICE
32 | Magnolia grandiflora `Little Gem` / Dwarf Southern Magnolia |  | 200 gal | 6" CAL, 17` HT, 6` SPD, 52" ROOT BALL | EA |  | 18 |  |  |  |  | $ -
33 | Quercus virginiana `Cathedral` / Cathedral Live Oak |  | 200 gal | 6"CAL, 17`HT, 10`SPD, 52"ROOTBALL | EA |  | 2 |  |  |  |  | $ -
34 | Ulmus parvifolia 'Allee' / Allee Lacebark Elm |  | 200 gal | 6"CAL, 17`HT, 10`SPD, 52"ROOTBALL | EA |  | 10 |  |  |  |  | $ -
Sec. 00310, page 3 of 13
PALMS | BOTANICAL/COMMON |  | SIZE | SPECS | UNIT |  | QUANTITY |  | UNIT PRICE |  |  | TOTAL PRICE
35 | Sabal palmetto / Cabbage Palmetto |  | 6"Rootball | 15` HT CT | EA |  | 10 |  |  |  |  | $ -
SHRUBS | BOTANICAL/COMMON |  | SIZE | SPECS | UNIT |  | QUANTITY |  | UNIT PRICE |  |  | TOTAL PRICE
36 | Ilex vomitoria `Nana` / Dwarf Yaupon |  | 7 gal | 12" HT X 24" SPRD, 24"OC | EA |  | 243 |  |  |  |  | $ -
37 | Muhlenbergia capillaris / Pink Muhly |  | 3 gal | 24" HT X 24" SPD, 24" OC | EA |  | 127 |  |  |  |  | $ -
38 | Myrcianthes fragrans `compacta` / Compact Simpson`s Stopper |  | 4 gal | 24" HT X 24" SPD, 30" OC | EA |  | 61 |  |  |  |  | $ -
39 | Podocarpus macrophyllus 'Pringles' / Dwarf Podocarpus |  | 3 gal | 36" HT X 9" SPRD, 24" OC | EA |  | 164 |  |  |  |  | $ -
40 | Zamia floridana / Coontie Palm |  | 3 gal | 24" HT X 24" SPD, 24" OC | EA |  | 125 |  |  |  |  | $ -
GROUND COVER | BOTANICAL/COMMON |  | SIZE | SPECS | UNIT |  | QUANTITY |  | UNIT PRICE |  |  | TOTAL PRICE
41 | Paspalum notatum `Argentine` / Bahia Grass |  | sod | Sod | SF |  | 6291 |  |  |  |  | $ -
42 | Tulbaghia violacea 'Silver Lace' / Silver Lace Society Garlic |  | 1 gal | 12" HTX 12" SPD, 18" OC | EA |  | 388 |  |  |  |  | $ -
[7 empty] | SUB-TOTAL PLANT COST = |  |  |  |  | $ -
IRRIGATION | VALVES/CONTROLLERS ETC. |  |  |  | UNIT |  | QUANTITY |  | UNIT PRICE |  |  | TOTAL PRICE
43 | Rain Bird PESBR 1-1/2" |  |  |  | EA |  | 1 |  |  |  |  | $ -
44 | Rain Bird PESBR 1" |  |  |  | EA |  | 6 |  |  |  |  | $ -
45 | Hunter PC-400 |  |  |  | EA |  | 1 |  |  |  |  | $ -
46 | Hunter MINI-CLIK |  |  |  | EA |  | 1 |  |  |  |  | $ -
47 | Water Meter |  |  |  | EA |  | 1 |  |  |  |  | $ -
[5 empty] | SUB-TOTAL IRRIG-VALVES/CONTROLLER COST = | [6 empty] | $ -
IRRIGATION | LATERAL LINES |  |  |  | UNIT |  | QUANTITY |  | UNIT PRICE |  |  | TOTAL PRICE
48 | Irrigation Lateral Line: PVC Schedule 40 3/4" |  |  |  | LF |  | 2513 |  |  |  |  | $ -
Sec. 00310, page 4 of 13
49 | Irrigation Lateral Line: PVC Schedule 40 1" |  |  |  | LF |  | 567 |  |  |  |  | $ -
50 | Irrigation Lateral Line: PVC Schedule 40 1 1/4" |  |  |  | LF |  | 76 |  |  |  |  | $ -
51 | Irrigation Lateral Line: PVC Schedule 40 1 1/4" |  |  |  | LF |  | 34 |  |  |  |  | $ -
[5 empty] | TOTAL PARKING & LIGHTING COST = | [6 empty] | $ -
|  |  |  | TOTAL LANDSCAPE & IRRIGATION COST = | [7 empty] | $ -
[7 empty] | GRAND TOTAL PROJECT COST = |  |  |  |  | $ -
Sec. 00310, page 5 of 13